## Slide 1
PDU
PDU
PC1-RF
PC2-Pointing
IC-R8600
IC-9700
Big RAZ Ctlr
Slide out Table
Q-Pace CGS
Astron 2
Astron 1
1U
1U
1U
2U
2U
2U
2U
3U
Sliding shelves with brackets/clamps
Equipment should be placed on
rails or shelves except for the
Communications Rx and the UHF
TRx; the latter are on sliding shelves.
Linear behind panel
If tipover is a concern, swap location
of the Astron supplies and the PCs.
Blank panels indicated in “U”s.
Once installed, 3U panels can be
machined to fit the IC-R8600 and
IC-9700

## Slide 2
Except for equipment
with front vents
(venting inward)
the front should be
airflow restrained.
This panel should be
replaced with vents/
filter if plenum space
heat is excessive
Cool air should enter from
rear. Observe airflow exiting
equipment; locate hot
equipment at the upper
part of the rack.